## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 19
SERIAL #: |  | 15331704-10023
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (ADMIN/AUDIT)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 19
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 19
SERIAL #: |  | 15331704-10023
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (ADMIN/AUDIT)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-06-03 | - | HO-152460 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-22 | - | HO-163760 | For modiication of drain pump hose line | Modified Drain pump and install color green drain hose | - | DONE-OK
2023-09-11 | - | HO-170418 | L3 /Deffective water pump | Replace new water pump | Observe testing | DONE-OK
2024-02-03 | - | HO-186092 | Dirty unit /Grounded unit | Check up only /Run test unit -Ok | For Cleaning | DONE-OK
2024-02-17 | - | HO-188148 | Check up only | Installed Circuit breaker | - | DONE-OK
2024-11-18 | - | HO-232427 | Not cooling / dirty drain pan | Clean drain pan and float switch | - | DONE-OK
2025-02-01 | # 2053 | HO-240291 | Dirty unit | General cleaning only - 1st | Clean filter regularly | DONE-OK
2025-07-18 | # 1016 | HO-265715 | Deadset / remote setting incorrect | Adjustment of setting on Remote | - | DONE-OK
2025-11-15 | # 1086 | HO-279751 | Dirty unit | General cleaning only | - | DONE-OK
-