## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 20
SERIAL #: |  | 15361704-10006
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Front Elevator)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 20
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 20
SERIAL #: |  | 15361704-10006
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Front Elevator)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-12-10 | - | HO-135065 | Fixed casing | Clear air filter only | Repair of Manhole | DONE-OK
2024-06-29 | - | HO-195472 | Dirty unit | General cleaning only / Test unit Normal operation | - | DONE-OK
2025-05-22 | # 2095 | HO-255799 | Water dripping | Check up only | Make manhole side by side | DONE-OK
2025-05-31 | # 2095 | HO-257486 | Water dripping | Re insulate (I) fittings | - | DONE-OK
2025-11-15 | # 1079 | HO-277874 | Dirty unit | General cleaning / Installed circuit breaker | - | DONE-OK
2025-11-19 | # 1079 | HO-281052 | Others | Re align indoor unit | - | DONE-OK
-