## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 21
SERIAL #: |  | 15331704-10017
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (MIS)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 21
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 21
SERIAL #: |  | 15331704-10017
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (MIS)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-04 | - | HO-023421 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-02-06 | - | HO-049317 | Unusual smell | Check up only / No smell burned | - | DONE-OK
2021-12-11 | - | HO-089978 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-06-04 | - | HO-109822 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-14 | - | HO-135421 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-06-23 | - | HO-152456 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-12-02 | - | HO-177280 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-02-03 | - | HO-186091 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-02-14 | - | HO-188147 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-01 | # 2053 | HO-240292 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-11-15 | # 1086 | HO-279752 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK