## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 7
SERIAL #: |  | 15331704-10022
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Accounting Section)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 7
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 7
SERIAL #: |  | 15331704-10022
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Accounting Section)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-05-28 | - | HO-109814 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-07 | - | HO-135420 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-02-17 | - | HO-188151 | Check up only | Install circuit breaker / Re-wiring | - | DONE-OK
2024-05-04 | - | HO-195481 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-06-09 | # 1003 | HO-260295 | Blinking of light | Reset breaker only | - | DONE-OK
2025-07-18 | # 1016 | HO-265722 | Dead Set | Adjustment of remote Setting | - | DONE-OK
2025-08-23 | # 1030 | HO-268497 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK