## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 8
SERIAL #: |  | 15361704-10007
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Hallway-Xerox Copy)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 8
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 8
SERIAL #: |  | 15361704-10007
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Hallway-Xerox Copy)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-07-15 | - | HO-152492 | Check up | Remove face cover /check unit /unit still clean | - | DONE-OK
2024-05-04 | - | HO-195478 | Dirty Filter | Clean air filter only | - | DONE-OK
2025-11-15 | # 1079 | HO-277869 | Dirty Unit | General cleaning / Installed breaker | - | DONE-OK
2025-11-22 | # 1079 | HO-281050 | Re alignment of indoor unit | Re align of indoor unit | - | DONE-OK
-