## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 9
SERIAL #: |  | 15321704-10001
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Payroll section)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 9
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 9
SERIAL #: |  | 15321704-10001
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Payroll section)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-06-27 | - | HO-22664 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-04 | - | HO-89276 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-28 | - | HO-109815 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-07 | - | HO-135419 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-06-10 | - | HO-152495 | Dirty unit | Cancelled due to office cubicle | - | CANCELLED
2024-02-14 | - | HO-188152 | Check up | Install circuir breaker / Re wiring | - | DONE-OK
2025-01-25 | # 2050 | HO-238669 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-07-18 | # 1016 | HO-265714 | Dead set | Adjustment of Remore setting | - | DONE-OK
2025-08-30 | # 1033 | HO-269065 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-12-13 | # 1113 | HO-284141 | L3 error code | Replaced water pump / test run ok | - | DONE-OK