## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 2
SERIAL #:
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (NEW HR )
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 3
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 2
SERIAL #:
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (NEW HR )
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2025-01-28 | - | HO-239942 | Water dripping | Replaced water pump ,clean drain pump | - | DONE -OK
2025-11-15 | # 1086 | HO-278685 | Dirty unit | General cleaning only | - | DONE -OK