## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 4
SERIAL #: |  | 20131706-10064
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (MUSEUM 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 4
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 4
SERIAL #: |  | 20131706-10064
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (MUSEUM 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-16 | - | HO-090753 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-07-15 | - | HO-073896 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-09-09 | - | HO-197886 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK