## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 5
SERIAL #: |  | 20131706-10083
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (MUSEUM 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 5
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 5
SERIAL #: |  | 20131706-10083
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (MUSEUM 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-07-05 | - | HO-73808 | Dirty unit | General Cleaning only | Clean filter regularly | DONE-OK
2021-12-16 | - | HO-090752 | Dirty unit | General Cleaning only | Clean filter regularly | DONE-OK
2022-05-11 | - | HO-107014 | Dirty unit | General Cleaning only | Clean filter regularly | DONE-OK
2022-06-22 | - | HO-114426 | Check up | Check up only / get parameters | - | DONE-OK
2024-07-22 | - | HO-197739 | Dirty unit | Clean filter only | - | DONE-OK