## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 8
SERIAL #: |  | 17151806-10341
MODEL NAME : |  | KLM-IC40-2C1M
LOCATION: |  | 4TH Floor (AVR 4 )
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 8
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 8
SERIAL #: |  | 17151806-10341
MODEL NAME : |  | KLM-IC40-2C1M
LOCATION: |  | 4TH Floor (AVR 4 )
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-07-31 | - | HO-164973 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-12-29 | - | HO-182779 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-07-23 | - | HO-197685 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-08-24 | - | HO-219502 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-03-29 | # 2081 | HO-248049 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-17 | # 1044 | HO-279904 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-11-27 | # 1101 | HO-281970 | Icing evaporator | Recharging of freon / leak test fittings (o) tighten valve pin | - | DONE-OK