## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #:
SERIAL #: |  | 18572203-11437
MODEL NAME : |  | KSM-IW20-9L1M
LOCATION: |  | 4TH Floor (HR TRAINING ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## TRAINING ROOM
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #:
SERIAL #: |  | 18572203-11437
MODEL NAME : |  | KSM-IW20-9L1M
LOCATION: |  | 4TH Floor (HR TRAINING ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-01-20 | - | HO-185295 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2025-07-03 | # 1009 | HO-263551 | Water dripping / dirty unit | General cleaning / Clean drain pump | Clean filter regularly | DONE -OK
2025-10-29 | # 1082 | HO-278682 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK