## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 1
SERIAL #: |  | 15361704-10004
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 4TH Floor (HALLWAY-CR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 1
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 1
SERIAL #: |  | 15361704-10004
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 4TH Floor (HALLWAY-CR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2025-10-23 | # 1060 | HO-275935 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK