## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 2
SERIAL #: |  | 15331704-10019
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (BOARD ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 2
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 2
SERIAL #: |  | 15331704-10019
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (BOARD ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-06-20 | - | HO-15567 | Not Cooling | Check up only / No trouble found | Clean filter regularly | DONE-OK
2023-07-18 | - | HO-163398 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-28 | - | HO-163397 | Dirty unit | Clean filter only | Clean filter regularly | DONE-OK
2023-12-29 | - | HO-182783 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-07-23 | - | HO-197913 | Dirty unit | Unit Still clean | - | -
2024-09-09 | - | HO-197751 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-05-13 | # 2100 | HO-259070 | Auto on & off / L3 error | Replaced fan motor | - | DONE-OK
2025-08-06 | # 1021 | HO-268266 | Others | Transfer Master indoor from OMF to Board room | - | DONE-OK
2025-09-07 | # 1037 | HO-214997 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK