## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 3
SERIAL #: |  | 15331704-10012
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (EXECUTIVE ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 3
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 3
SERIAL #: |  | 15331704-10012
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (EXECUTIVE ROOM)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-09 | - | HO-24929 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-06 | - | HO-107007 | Check up | Check up of drain pan/water pump and also water level switch and sensors | Clean filter regularly | DONE-OK
2022-11-11 | - | HO-131767 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-10-16 | # 1074 | HO-275930 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK