## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 4
SERIAL #: |  | 15361704-10005
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 4TH Floor (FRONT ELEVATOR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 4
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 4
SERIAL #: |  | 15361704-10005
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 4TH Floor (FRONT ELEVATOR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2025-10-13 | # 1070 | HO-75934 | Dirty unit | General cleaning only / Put breaker 20 amps | Clean filter regularly | DONE-OK