## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 5
SERIAL #: |  | 15331704-10018
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (AVR 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 5
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 5
SERIAL #: |  | 15331704-10018
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (AVR 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-07-09 | - | HO-024933 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-16 | - | HO-90735 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-19 | - | HO-107010 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-13 | - | HO-164972 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-03-29 | # 2081 | HO-248042 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-17 | # 1044 | HO-273306 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK