## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 6
SERIAL #: |  | 15331704-10006
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (AVR 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 6
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 6
SERIAL #: |  | 15331704-10006
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 4TH Floor (AVR 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-07-14 | - | HO-73796 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-16 | - | HO-90734 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-18 | - | HO-90955 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-03-29 | # 2081 | HO-248053 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-17 | # 1044 | HO-273307 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK