## AHU-3rd Floor
BUILDING EQUIPMENT PREVENTIVE MAINTENANCE
Air Handling Unit (A.H.U) Motor and control
LOCATION: | 3rd Floor (OP)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-06-07 | - | HO-157361 | OTHERS | Fix copper tube to indoor unit / Leak test | - | DONE-OK
2024-09-21 | - | HO-195560 | Dirty filter | Clean filter only | - | DONE-OK
2025-11-27 | # 1101 | HO-281668 | Dirty filter | Clean filter only | - | DONE-OK