## AHU-Roof Deck
BUILDING EQUIPMENT PREVENTIVE MAINTENANCE
Air Handling Unit (A.H.U) Motor and control
LOCATION: | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-04-22 | - | H0-149616 | U4 Error / Fan motor not functioning / Dirty outdoor | Conduct cleaning / Pullout Fan motor board | - | DONE-OK
2023-05-25 | - | HO-155448 | For Leak test | Pressure check | - | DONE-OK
2023-06-10 | - | HO-157363 | For check up / mounting of AHU | Re -insulate coppertube together with Ground floor to 3rd floor indoor fittings | - | DONE-OK
2023-06-17 | - | HO-158861 | For Leak test | Brazing copper tube outdoor unit /Recharge Freon/ Leak test | - | DONE-OK
2023-06-20 | - | HO-159393 | Check up only | Pressure check | - | DONE-OK
2024-01-06 | - | HO-183473 | Dirty outdoor | General cleaning of outdoor unit only | - | DONE-OK
2024-09-21 | - | HO-222919 | Dirty filter | Clean air filter only | - | DONE-OK
2025-01-11 | - | HO-237278 | Dirty unit | General cleaning only | - | DONE-OK
2025-09-13 | - | HO-272855 | Dirty unit | General cleaning only | - | DONE-OK
2025-12-13 | # 1113 | HO-281667 | Dirty unit | General cleaning only / Put breaker | - | DONE-OK