## AHU-Upper Ground
BUILDING EQUIPMENT PREVENTIVE MAINTENANCE
Air Handling Unit (A.H.U) Motor and control
LOCATION: | Upper Ground ( CR-Technician)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-04-26 | - | HO-150243 | Dirty unit | General cleaning only | - | DONE-OK
2023-06-07 | - | HO-157360 | Others | Fix copper tube to indoor unit , Leak test | - | DONE-OK
2024-09-21 | - | HO-222923 | Dirty Filter | General cleaning only | - | DONE-OK