## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS1-MASTER
SERIAL #: |  | 15401704-10006
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-ACU Master
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS1-MASTER
SERIAL #: |  | 15401704-10006
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-01-06 | - | HO-183481 | Dirty unit | General cleaning of outdoor only | - | DONE -OK
2024-03-16 | - | HO-191721 | Check up | No need to install circuit breaker | - | DONE -OK
2025-01-11 | # 2044 | HO-237287 | Dirty unit | General cleaning of outdoor only | - | DONE -OK
2025-03-11 | # 2073 | HO-245244 | For replacement of S. tape | Replaced S. tape | - | DONE -OK
2025-09-13 | # 1043 | HO-272849 | Dirty unit | General cleaning of outdoor only | - | DONE -OK
2025-10-11 | # 1069 | HO-274405 | E2 ERROR CODE | Check up / test and observed unit | - | DONE -OK