## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1A
SERIAL #: |  | 15401704-10001
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS-ACU 1A
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1A
SERIAL #: |  | 15401704-10001
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-11-14 | - | HO-178240 | Not cooling /Error B7 | Replace Sensor Sub-assy | - | DONE-OK
2024-01-06 | - | HO-183475 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-01-11 | # 2024 | HO-237275 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-03-11 | # 2073 | HO-245238 | For replacement of S. Tape | Replaced S. tape | - | DONE-OK
2025-09-13 | # 1043 | HO-272848 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-10-28 | #1080 | HO-278492 | Error PO and H2 (Indoor) Error P3 , HL , C3 , C2 (outdoor) Deffective compressor drive board and fan motor drive board ( from 8:00 am to 6:35 pm) | Replaced compressor drive board, Cleaned and resoldered fan motor drive board by Sir Angel. |  | DONE-OK