## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1B
SERIAL #: |  | 15401704-10005
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS-ACU 1B
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1B
SERIAL #: |  | 15401704-10005
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-01-06 | - | HO-183476 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2024-03-16 | - | HO-191721 | Check up | No need to install circuit breaker | - | DONE-OK
2025-01-11 | # 2044 | HO-237277 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-03-11 | # 2073 | HO-245239 | For replacement of S. Tape | Replaced S. tape | - | DONE-OK
2025-09-13 | # 1043 | HO-272846 | Dirty unit | General cleaning of outdoor only | - | DONE-OK