## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1C
SERIAL #: |  | 15401704-10001
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS-ACU 1C
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS-ACU 1C
SERIAL #: |  | 15401704-10001
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-01-06 | - | HO-183474 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-01-11 | # 2044 | HO-237274 | Dirty unit | General cleaning of outdoor only | - | DONE-OK
2025-03-11 | # 2073 | HO-245237 | For replacement of S. Tape | Replaced S. tape | - | DONE-OK
2025-06-10 | # 1004 | HO-260604 | E2 Error | Replaced Ambient outdoor sensor / discharge sensor | - | DONE-OK
2025-06-20 | # 1005 | HO-261981 | E2 Error | Replaced 1 set outdoor sensor | - | DONE-OK
2025-06-23 | # 1006 | HO-262204 | E2 Error | Re set circuit breaker | - | DONE-OK
2025-07-04 | # 1011 | HO-263245 | E2 Error | Replaced PCB outdoor | - | DONE-OK
2025-09-13 | # 1043 | HO-272846 | Dirty unit | General cleaning of outdoor only | - | DONE-OK