## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS2-MASTER
SERIAL #: |  | 15401704-10007
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-ACU Master
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
OUTDOOR UNIT #: |  | SYS2-MASTER
SERIAL #: |  | 15401704-10007
MODEL NAME : |  | VMK5-160TINV
LOCATION: |  | Roof Deck
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-01-06 | - | HO-183477 | Dirty unit | General cleaning of outdoor only | - | DONE -OK
2024-03-08 | - | HO-190747 | Not cooling / Error E1 | Check all sensors/restart circuit breaker | - | DONE -OK
2024-03-16 | - | HO-191718 | Check up | No need to install circuit breaker | - | DONE -OK
2025-01-11 | # 2044 | HO-237279 | Dirty unit | General cleaning of outdoor only | - | DONE -OK
2025-03-11 | # 2073 | HO-245241 | For replacement of S. tape | Replaced S. tape | - | DONE -OK
2025-09-13 | # 1043 | HO-272854 | Dirty unit | General cleaning of outdoor only | - | DONE -OK