## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 11
SERIAL #: |  | 18071705-14341
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | Upper Ground (Tools and Parts Office)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 11
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 11
SERIAL #: |  | 18071705-14341
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | Upper Ground (Tools and Parts Office)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-03-19 | - | HO-100627 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok
2022-06-29 | - | HO-115189 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok
2022-08-17 | - | HO-121252 | Dirty unit / weak fan blower | Pumpdown GC / chemical run test | Clean Filter Regularly | Done-ok
2023-02-04 | - | HO-140417 | Dirty unit | Pumpdown GC / chemical run test | Clean Filter Regularly | Done-ok
2023-07-04 | - | HO-161291 | Clogged Air filter | Clean Air Filter | Clean Filter Regularly | Done-ok
2023-08-05 | - | HO-165172 | Dirty unit | Cancelled service due to unsafe location /need to remove tables | - | Cancelled
2023-08-12 | - | HO-165746 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok
2024-01-20 | - | HO-185296 | Dirty unit | Cancelled service due to unsafe location /need scaffolding | - | Cancelled
2024-06-15 | - | HO-207104 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok
2024-07-27 | - | HO-215343 | Deadset | Check up / Test unit using temporary supply | - | Done-ok
2025-01-18 | #2048 | HO-237958 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok
2025-09-20 | # 1050 | HO-273243 | Dirty unit | General cleaning only | Clean Filter Regularly | Done-ok