## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 12
SERIAL #: |  | 17151706-10195
MODEL NAME : |  | KLM-IC40-2C1M
LOCATION: |  | Upper Ground (Customer Lounge)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 12
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 12
SERIAL #: |  | 17151706-10195
MODEL NAME : |  | KLM-IC40-2C1M
LOCATION: |  | Upper Ground (Customer Lounge)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-18 | - | HO-90961 | Dirty Unit | General cleaning only | Clean filter regularly | DONE -OK
2022-07-02 | - | HO-115191 | Dirty Unit | General cleaning only | Clean filter regularly | DONE -OK
2022-07-16 | - | HO-116789 | Dirty Unit | General cleaning only | Clean filter regularly | DONE -OK
2022-07-20 | - | HO-117426 | Dirty Unit | General cleaning only | Clean filter regularly | DONE -OK
2023-02-04 | - | HO-140416 | Dirty Unit | General cleaning only | Clean filter regularly | DONE -OK
2023-05-25 | - | HO-151480 | Dirty Unit / water dripping | Temporary flusing evaporator pins | For GC | DONE -OK
2023-05-26 | - | HO-155533 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-10-17 | - | HO-175330 | Not cooling | Cancelled /Need Scaffolding | - | CANCELLED
2023-10-19 | - | HO-175689 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2024-06-15 | - | HO-207102 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2024-07-27 | - | HO-215341 | Dead set | Check up / test unit using temporary supply | For transfer of breaker | DONE -OK
2025-01-25 | #2050 | HO-237957 | Dirty unit | General cleaning only - 1ST | Clean filter regularly | DONE -OK
2025-09-20 | # 1050 | HO-273244 | Dirty unit | General cleaning only - 2ND | Clean filter regularly | DONE -OK