## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU15
SERIAL #: |  | 15371704-10001
MODEL NAME : |  | VRK5-15BRINV
LOCATION: |  | Upper Ground (Clinic)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU15
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU15
SERIAL #: |  | 15371704-10001
MODEL NAME : |  | VRK5-15BRINV
LOCATION: |  | Upper Ground (Clinic)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-18 | - | HO-90960 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-07-16 | - | HO-116792 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-05-26 | - | HO-154496 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-20 | # 1045 | HO-273318 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK