## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU16
SERIAL #: |  | 15331704-10011
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | Upper Ground (Lobby)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU16
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU16
SERIAL #: |  | 15331704-10011
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | Upper Ground (Lobby)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-17 | - | HO-90959 | Dirty unit | General cleaning only | Clen Filter regularly | DONE-OK
2022-06-29 | - | HO-115188 | Dirty unit | General cleaning only | Clen Filter regularly | DONE-OK
2023-02-04 | - | HO-140415 | Dirty unit | General cleaning only | Clen Filter regularly | DONE-OK
2023-05-04 | - | HO-151482 | Dirty unit | Cancelled / Need Scaffolding | - | CANCELLED
2023-11-06 | - | HO-177069 | Not cooling | Cancelled / Need Scaffolding | - | CANCELLED
2023-11-23 | - | HO-179363 | Dirty unit / L3 Error | Check up | Need to replaced drain pump | DONE-OK
2023-11-29 | - | HO-180005 | Dirty unit | GC / Replaced water drain pump | Clen Filter regularly | DONE-OK
2024-06-15 | - | HO-207101 | Dirty unit | General cleaning only | Clen Filter regularly | DONE-OK
2025-01-25 | # 2050 | HO-239122 | Dirty unit | General cleaning only -1st | Clen Filter regularly | DONE-OK
2025-07-12 | # 1014 | HO-264616 | Dirty unit / L3 Error | Replaced drain pump / 2nd GC | Clen Filter regularly | DONE-OK
2025-11-22 | # 1099 | HO-280664 | Weak cooling | GC / Replaced Pcb / Installed Circuit breaker | Clen Filter regularly | DONE-OK