## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 17
SERIAL #: |  | 15381704-10001
MODEL NAME : |  | VRK5-51FLINV(I)
LOCATION: |  | Upper Ground (Showroom-Hallway)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 17
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 17
SERIAL #: |  | 15381704-10001
MODEL NAME : |  | VRK5-51FLINV(I)
LOCATION: |  | Upper Ground (Showroom-Hallway)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-18 | - | HO-90954 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2022-07-16 | - | HO-116793 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-02-04 | - | HO-140418 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-05-26 | - | HO-151473 | Dirty unit / Water dripping | General cleaning only / Run test | Clean filter regularly | DONE -OK
2023-11-04 | - | HO-175691 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2024-01-03 | - | HO-183097 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2025-01-16 | # 2047 | HO-237962 | Dirty unit | General cleaning only - 1st | Clean filter regularly | DONE -OK
2025-09-27 | # 1054 | HO-273980 | Dirty unit | Clean Filter only - 2nd | Clean filter regularly | DONE -OK
2025-10-02 | # 1056 | HO-275273 | Dirty unit | General cleaning only - 2nd | Clean filter regularly | DONE -OK