## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU18
SERIAL #: |  | 15381704-10002
MODEL NAME : |  | VRK5-51FLINV
LOCATION: |  | Upper Ground (Showroom-Left side)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU18
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU18
SERIAL #: |  | 15381704-10002
MODEL NAME : |  | VRK5-51FLINV
LOCATION: |  | Upper Ground (Showroom-Left side)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-18 | - | HO-90953 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2022-07-16 | - | HO-116794 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-02-04 | - | HO-140419 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-05-26 | - | HO-151478 | Dirty unit / Water dripping | General cleaning only / Run test | Clean filter regularly | DONE -OK
2023-11-04 | - | HO-175692 | Dirty unit / Water dripping | General cleaning only / Run test | Clean filter regularly | DONE -OK
2024-01-03 | - | HO-183098 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2025-01-16 | # 2047 | HO-237961 | Dirty unit | General cleaning only - 1st | Clean filter regularly | DONE -OK
2025-09-27 | # 1054 | HO-273982 | Dirty unit | Clean filter only | Clean filter regularly | DONE -OK
2025-10-02 | # 1056 | HO-275273 | Dirty unit | General cleaning only -2ND | Clean filter regularly | DONE -OK