## Panel Boards
KOLIN PHILLIPINES INTERNATIONAL INC.,
1854 Sta. Rita St. Guadalupe Nuevo Makati City
PANEL BOARDS PREVENTIVE MAINTENANCE
INSPECTION CHECKLIST
Inspection / Frequency: Monthly | [15 empty] | Date : ________
Location | Pb No. & Rating | No. of branches | Actual reading of Voltage | [5 empty] | AMPHERE |  |  | Check Temp | Actual check terminals wire /cable |  | Check terminal / loosen screw and bolt |  | REMARKS
|  |  | 400V - 445V |  |  | 200V - 245 V
|  |  | L-1-2 | L-2-3 | L-3-1 | L-1-N | L-2-N | L-3-N | L-1-N | L-2-N | L-3-N | TEMP | OK | NOT OK | OK | NOT OK
UG | PP mz 50a | 13
UG | PP ug 50a | 14
2ND F | PP 2f 60a | 24
3rd F | PP 3f 75a | 24
4th F | PP 4f 200a | 30
Roof Deck | PP accu | 17
Roof Deck | PP accu 1 | 4
Roof Deck | PP accu 2 | 4
Roof Deck | PPRD 200a | 16
SCOPE OF WORKS:
1. Check up/ testing of operating time and condition. | [8 empty] | 5. Check up /clean external parts.
2. Check all safety covers are installed | [8 empty] | 6. Repair and replace if necessary
3. Check for obstruction and accessibility | [8 empty] | 6. Repaint if necessary.
4. Check that panel boards are within operating temperature and within load rating.
Notes / Remarks :
Conducted by : |  |  |  |  | Evaluated by: | [9 empty] | Noted by :
Maintenance Staff Senior Maintenance Staff Admin Supervisor