## BWP Logsheet
KOLIN PHILIPPINES INTERNATIONAL INC
Kolin Bldg. 1854 Sta Rita St. Guadalupe Nuevo Makati Ctity
BUILDING WORK PERMIT -2026
B.W.P No. | DATE | REQUISITIONER | DEPARTMENT | SCOPE OF WORK | DATE START | DATE DONE | REMARKS | SIGNATURE
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362

## BWOR logsheet
KOLIN PHILIPPINES INTERNATIONAL INC
Kolin Bldg. 1854 Sta Rita St. Guadalupe Nuevo Makati Ctity
BUILDING WORK ORDER REQUEST -2026
B.W.P No. | DATE | REQUISITIONER | DEPARTMENT | SCOPE OF WORK | DATE START | DATE DONE | REMARKS | SIGNATURE
1143
1144
1145
1146
1147
1148
1149
1150
1151
1152
1153
1154
1155
1156
1157
1158
1159
1160
1161
1162
1163
1164
1165
1166
1167
1168

## BWOR Monitoring
As of : | 2026-03-12
| DONE | 8
| PENDING | 1
| CANCELLED | 0
TOTAL RECEIVED WORKS: |  | 9
STATUS | BWOR # | MONTH | DATE |  |  | CONTRACTOR /person in charge | LOCATION | DEPARTMENT | AREA | WORK TYPE |  | SCOPE OF WORK | REPAIR DONE | REMARKS
|  |  | REQUEST | START | END
DONE | 1115 | December | 2025-12-18 | 2026-01-05 | 2026-01-05 | John Paulo | Lower Ground | Admin | MC Parking | Corrective Maintenance | Painting | Repaint Acoustic board due to stain and leaking problem | Done repainting | OK
DONE | 1116 | December | 2025-12-18 | 2025-12-19 | 2025-12-19 | John Paulo / Alben | 4th Flr | MIS | AVR | Corrective Maintenance | Others | Relocation and upgrade of access point | Done Relocation | ok
DONE | 1117 | January | 2026-01-02 | 2026-01-02 | 2026-01-02 | Mapecon Personnel | Head Office | Admin | All Area | Corrective Maintenance | Sanitary | Monthly Pest Control | Done Pest control | OK
DONE | 1118 | January | 2026-01-03 | 2026-01-03 | 2026-01-03 | Team Cuevas | Roofdeck | Service | Roof deck | Corrective Maintenance | Air Condition | General cleaning of outdoor unit and AHU | Done General cleaning | OK
DONE | 1119 | January | 2026-01-07 | 2026-01-07 | 2026-01-07 | Team Villafuerte | Roofdeck | Service | Roof deck | Corrective Maintenance | Air Condition | Insulation of outdoor copper tubing | Re-insulate outdoor copper tubing | OK
DONE | 1120 | January | 2026-01-07 | 2026-01-07 | 2026-01-07 | Mapecon Personnel | Pantry Area | Admin | 2nd Flr | Corrective Maintenance | Sanitary | Applying Gel for insects | Done applying | OK
DONE | 1121 | January | 2026-01-10 | 2026-01-17 | 2026-01-17 | Team Villafuerte | Pantry Area | Service | 2nd Flr | Corrective Maintenance | Air Condition | General cleaning of Air Curtain / AHU | Done General cleaning | OK
DONE | 1122 | January | 2026-01-16 | 2026-01-17 | 2026-01-17 | Team Cuevas | Service Dept | Service | 2nd Flr | Corrective Maintenance | Air Condition | General cleaning of indoor unit | Done General cleaning | OK
PENDING | 1123 | January | 2026-01-20 | 2026-01-20 |  | Robinald Delmar | Roof deck | Admin | 4th Flr | Corrective Maintenance | Painting | Water proofing & grinding of portion & applying flexibond
1124
1125
1126
1127
1128
1129
1130
1131