## Sheet1
KOLIN PHILIPPINES INTERNATIONAL INC.
1854 Sta Rita Street Brgy. Guadalupe Makati City
PREVENTIVE MAINTENANCE CALENDAR SCHEDULE 2026
Equipment | January |  |  |  | Feb |  |  |  | March |  |  |  | April |  |  |  | May |  |  |  | June |  |  |  | Remarks
| 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th
Building maintenance | [24 empty] | Every Monday | bar: January 1st to June 4th
Genset/ generator | [24 empty] | Every Thursday | bar: January 1st to June 4th
STP weekly Report | [24 empty] | Every Monday | bar: January 1st to June 4th
Electrical panel boards | bar: January 2nd; Feb 2nd; March 2nd; April 2nd; May 2nd; June 2nd
Emergency light | bar: January 3rd; Feb 3rd; March 3rd; April 3rd; May 3rd; June 3rd
F-DAS | bar: January 1st; Feb 1st; March 1st; April 1st; May 1st; June 1st
Elevator | bar: January 4th; Feb 4th; March 4th; April 4th; May 4th; June 4th
Transfer pump | bar: January 2nd; Feb 2nd; March 2nd; April 2nd; May 2nd; June 2nd
ATS transfer switch | bar: January 1st; Feb 1st; March 1st; April 1st; May 1st; June 1st
Fire pump/Jockey | bar: January 4th; Feb 4th; March 4th; April 4th; May 4th; June 4th
Roll up motor | bar: January 1st; April 1st
Booster pump | bar: January 4th; Feb 4th; March 4th; April 4th; May 4th; June 4th
AHU fresh air supply | bar: January 1st; Feb 1st; March 1st; April 1st; May 1st; June 1st
Air Pressurization | bar: January 3rd; Feb 3rd; March 3rd; April 3rd; May 3rd; June 3rd
Fire Extinguisher | bar: January 2nd; Feb 2nd; March 2nd; April 2nd; May 2nd; June 2nd
STP Euipment | bar: January 3rd; Feb 3rd; March 3rd; April 3rd; May 3rd; June 3rd
Equipment | January 1st: July; Feb 1st: August; March 1st: September; April 1st: October; May 1st: November; June 1st: December | Remarks
| 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th | 1st | 2nd | 3rd | 4th
Building maintenance | [24 empty] | Every Monday | bar: July 1st to December 4th
Genset/ generator | [24 empty] | Every Thursday | bar: July 1st to December 4th
STP weekly Report | [24 empty] | Every Monday | bar: July 1st to December 4th
Electrical panel boards | bar: July 2nd; August 2nd; September 2nd; October 2nd; November 2nd; December 2nd
Emergency light | bar: July 3rd; August 3rd; September 3rd; October 3rd; November 3rd; December 3rd
F-DAS | bar: July 1st; August 1st; September 1st; October 1st; November 1st; December 1st
Elevator | bar: July 4th; August 4th; September 4th; October 4th; November 4th; December 4th
Transfer pump | bar: July 2nd; August 2nd; September 2nd; October 2nd; November 2nd; December 2nd
ATS transfer switch | bar: July 1st; August 1st; September 1st; October 1st; November 1st; December 1st
Fire pump/Jockey | bar: July 4th; August 4th; September 4th; October 4th; November 4th; December 4th
Roll up motor | bar: July 1st; October 1st
Booster pump | bar: July 4th; August 4th; September 4th; October 4th; November 4th; December 4th
AHU fresh air supply | bar: July 1st; August 1st; September 1st; October 1st; November 1st; December 1st
Air Pressurization | bar: July 3rd; August 3rd; September 3rd; October 3rd; November 3rd; December 3rd
Fire Extinguisher | bar: July 2nd; August 2nd; September 2nd; October 2nd; November 2nd; December 2nd
STP Euipment | bar: July 3rd; August 3rd; September 3rd; October 3rd; November 3rd; December 3rd